| **Luminaire Type** | **Luminaire Image** | **Description and Catalogue Number** |
| --- | --- | --- |
| **Pathway Luminaires** | | |
| A |  | 70W HPS? |
| B |  | 70W HPS? |
| C |  | 100W HPS? |
| C1 | Gardco BRM822 Bollard | 32W TRT |
| D |  | 100W HPS? |
| F |  | 100W HPS? |
| G |  | 100W HPS? |
| G1 | PACE ASFL | 70W HPS |
| H |  | 100W HPS? |
| **Step Lights** | |  |
| J |  | 50W HPS? |
| K |  | 1-42W PLT? |
| K1 | PACE JRLS | 1-42W PLT |
| K2 | McPhilben 942 Series | 2-13W WTT |
| L |  | 1-42W PLT? |
| M |  | 50W HPS? |
| N |  | 50W HPS? |
| **Wall Mounted Building Lights** | | |
| P |  | 100W HPS? |
| Q |  | 100W HPS? |
| Q1 |  | 100W HPS |
| Q2 | McGraw Edson | 250W HPS |
| R |  | 70 HPS? |
| S |  | 50W HPS? |
| T |  | 70W HPS |
| T1 |  | 50W HPS |
| T2 | Noral Othello | 50W MH |
| T4 | Quality DL Series | 1x22W PLC |
| U |  | 70W HPS |
| U1 | Unknown | 70W HPS |
| U2 | Unknown | 18W LPS |
| U3 | Unknown | 100W HPS |
| U4 | Holophane 410-120 | 100W MV |
| U5 | Holophane 400-120 | 200W MV |
| U6 | Electrolier | 150W |
| U7 | Holophane | 250W |
| U8 | Unknown | 2x26W CF |
| U9 | Unknown linear sign | 1x32W T8 |
| U10 | Electroiler KACW | 2x40W T12 |
| U11 |  |  |
| V |  | 100W INC? |
| V1 | Pace TPWM | **2-32W PLT** |
| W |  | 100W MH |
| W1 | PACE AEQS | **150W MH** |
|  |  |  |
| X1 |  | **100W HPS?** |
| X2 | Geometric Lighting Specialties GLS 36350 | **50W HPS** |
| X3 | PRESCOLITE 4022 | **1OOW INC** |
| X |  | **100W HPS?** |
| Y |  | ? |
| Z |  | 100W HPS? |
| AA |  | 100W HPS? |
| BB |  | 100W INC? |
| CC |  | 100W HPS? |
| DD1 |  | 100W INC? |
| DD |  | 100W INC? |
| **Ceiling Mounted Downlights** | | |
| FF |  | 70W HPS |
| GG |  | 100W MH |
| HH |  | 100W HPS? |
| JJ |  | 100W MH? |
| JJ1 | Lithonia LP8 | 70W HPS |
| JJ2 | Lithonia LP6 | 2-26W TRT |
| JJ3 | Lightolier LD73 | 70W MH |
| KK1 | Lithonia AF | 2x18W PL |
| KK |  | 100W HPS? |
| **Flood Lights** | | |
| LL |  | 100HPS? |
| MM |  | 100HPS? |
| MM1 |  | 100HPS? |
| NN |  | 100HPS? |
| NN1 | BK Lighting K2 72 | 150W MH |
| PP |  | 150W INC? |
| QQ |  | 100W INC? |
| RR1 | RAB | 2-75W Par38 |
| RR2 | RAB | 2-500W Par38 |
| RR |  | 3-100W PAR38? |
| **Parking Area Lights** | | |
| SS1 |  | 250W HPS PATHWAY/ROAD |
| SS |  | 400W HPS PARKING |
| TT |  | 400W HPS? |
| UU |  | 400W HPS? |
| VV |  | 400W HPS? |
| XX |  | 400W HPS? |